## Data Form
Comparison of piston-operated volumetric instruments
EURAMET identifier: 1533
BIPM KCDB identifier: EURAMET.M.FF-S16
Data Form - Calibration of a glass syringe
General Information
Laboratory
Responsible person
Date
Equipment
| Manufacturer | Type | Range | Resolution | Tracebility (when aplied)
Weighing instrument
Thermometer for water measurement
Thermometer for air measurement
Barometer
Hygrometer
Other equipment
Other Informations
| Type | Density reference | Measured conductivity (if the liquid is water)
Calibration liquid
| Type | Density (if the standard is a mass) | Tracebility (when aplied)
Mass standards
Other standards
Used volume calculation formula:
Calibration Procedure (short description)
Comments:
Signature:

## Results form Glass syringe
Comparison of piston-operated volumetric instruments
EURAMET identifier: 1533
BIPM KCDB identifier: EURAMET.M.FF-S16
Results form - Calibration of a glass syringe
Measurement results 1 mL
Air temperature (ºC)
Pressure (hPa)
Humidity (%)
Air Density (g/mL)
Test number | Volume (mL)
1
2
3
4
5
6
7
8
9
10
Mean value
Standard deviation
Uncertainty budget
Quantity (xi) | Value | Distribution | Standard uncertainty u(xi) | Sensitivity coefficient ci | Uncertainty u(yi) | Comment/ Explanation
Repetibility measurements (mL)
Mass (g)
Air Density (g/mL)
Water Density (g/mL)
Density of the mass pieces (g/mL)
Cubic coefficient of expansion from the glass syringe material (°C-1)
Water temperature (ºC)
Meniscus reading (mL)
Evaporation (mL)
Other
Uncertainty (mL)
Expanded uncertainty (mL) (k=2)